SCOPE OF WORK

Client: TREVOR HOWARD

Site Address: 12 Kiepersol Street, Midstream Estate, 1692

SUB / SOL Number: SUB-0231

The contractor shall supply and install a 8.2 kWp rooftop photovoltaic system comprising 15 x JA Solar JAM54S30-545/MR 545W monocrystalline modules mounted on a tile roof with rail-mounted brackets.

Conversion is by 1 x Sungrow SH8.0RT hybrid inverter rated at 8 kW, coupled to 2 x BYD Battery-Box Premium HVS 5.1 units providing 10.2 kWh of usable storage.

Monitoring shall be provided via the Sungrow iSolarCloud platform. The installation is to be commissioned and handed over by 30 June 2026.

System monitoring reference: ISC-773120